## Board Report
Citation Number: | Owner/Contractor: | Property Address: | Violation | CO Executed | Update (DateDue/ Item/ Date Received) | Referred to OGC
ESC-24-10 | American Classic Homes, LLC, Atlee Development Group, Inc., ACO Construction, LLC | 8714 Lenox Ave, 1301 Hammond Blvd, 1305 Hammond Blvd | Discharge of non-stormwater to City municipal separate storm sewer system (“MS4”); Failure to comply with erosion and sediment control requirements.. | 2024-05-20 | - Pending Board Approval
GW-24-01 | Isaiah 117 House Property LLC | 3724 Marbon Road | Construction of a well without a permit. | 2024-05-20 | - Pending Board Approval
AP-24-03 | USNR, LLC | 6630 Broadway Ave | Failure to obtain air construction permit prior to beginning construction of an air pollution source. | 2024-05-20 | - Pending Board Approval
ESC-24-07 | BCPF Cypress Plaza LLC, Foundry Commercial, LLC, W. Gardner, LLC, and Dana B. Kenyon Company | 0 Cypress Plaza Dr | Discharge of non-stormwater to City municipal separate storm sewer system (“MS4”); Failure to comply with erosion and sediment control requirements. | 2024-05-20 | - Pending Board Approval
ESC-24-03 | Meritage Homes of Florida Inc, KT Carter Contracting, Inc. | 0 Soutel Drive | Unlawful discharge of turbid water to stormwater (MS4); Failure to comply with erosion and sediment control standards | 2024-05-20 | - Pending Board Approval
ESC WP-23-76 | City of Jacksonville – Public Works; Auld & White Constructors, LLC; W. Gardner, LLC | 6575 Lenox Avenue | Discharge of non-stormwater to City municipal separate storm sewer system (“MS4”); Failure to comply with erosion and sediment control requirements. | 2024-05-20 | - Pending Board Approval
WP-23-70 | Bachelor Properties II, LLC​ and ​Crud Busters, LLC | ​108 Copeland Street​ | Discharge of untreated wastewater to the ground, surrounding environment and stormwater draining to MS4; Allowing untreated wastewater into the storm sewer system | 2024-05-20 | - Pending Board Approval
AP-23-13 | Keystone Investments II, L.L.C. | 1915 Wigmore Street | Failure to use reasonable precautions for coal ash stockpiles for EU004 and failure to submit quarterly reports on a quarterly basis – Facility-wide | 2024-03-18 | - 4/26/2024 Due: Payment 4/24/2024 - AirCom data entry - in compliance 4/26/2024 - Case Closed 4/25/2024
ESC-24-02 | Springfield MF Partners LLC; Corner Lot Development Group, LLC; Summit Contracting Group, Inc. | 1148 N Main St; 0 N. Main St., 33 W. 1st St. | Unlawful discharge of turbid water to stormwater (MS4); Failure to comply with erosion and sediment control standards | 2024-03-18 | - 4/18/2024 Due: Payment 3/21/2024 - Case Closed 3/26/2024
ESC-24-01 | Taylor Morrison of Florida, Inc.,; Jax Dirtworks Inc. | 8439 Garden Street | Discharge of sediment to stormwater MS4; failure to comply with erosion and sediment control requirements | 2024-03-18 | - 4/18/2024 Due: Payment 3/29/2024 - Case Closed 4/1/2024
AP-24-02 | ​​​The Quikrete Companies, LLC​​ | ​​11640 Camden Road​ | Unconfined particulate matter leaving property; Excess emissions prohibited via equipment failure; Circumvention of unconfined particulate matter when loading silos; | 2024-02-20 | - Past due payment email 4/11/2024 - 4/20/2024 Due: Payment 4/18/2024 - Case Closed 4/19/2024
ESC WP-23-72 | American Civil Construction Inc., and Summit Contracting Group, Inc. | 6555 Lenox Ave., | Discharge of non-stormwater to City municipal separate storm sewer system (“MS4”); Failure to comply with erosion and sediment control requirements | 2024-02-20 | - 3/20/2024 Due: Payment 3/15/2024 - Case Closed 3/26/2024
ESC WP-23-51 | Toll Southeast LP Company; San Marco Terrace Homeowners Association, Inc. | 0 Bridgeton Dr; 0 Piazza Pl; 0 Lang Ct | Discharge of non-stormwater to City municipal separate storm sewer system (“MS4”); Failure to comply with erosion and sediment control requirements | 2024-02-20 | - 4/24/2024 Due: Payment 4/3/2024 - To remain open until final stabilization
ESC WP-23-65 | Homestead San Jose MF Owner LLC, RangeWater Development, LLC; Summit Contracting Group, Inc.; Pipeline Constructors, Inc.; Universal Engineering Sciences, LLC. | 6765 St. Augustine Rd | Discharge of non-stormwater to City Municipal Separate Storm Sewer System (“MS4”); Turbidity discharge to surface water in exceedance of surface water quality standards | 2024-01-16 | - 2/15/2024 Due: Payment 2/5/2024 - To remain open until final stabilization
WP-23-58 | Beauclerc Bay Apartments LTD & Lighthouse Jax LLC | 9047 San Jose Boulevard (RE# 148709-0050 & 148709-0060) | Discharge of untreated wastewater to the ground, surrounding environment and surface water; Failure to comply with Wastewater Collection/Transmission System design standards; Failure to perform required maintenance, Failure to notify EQD of Discharge from the System and failure to provide required records. | 2024-01-16 | - All Corrective actions have been completed - need to get OMR; owner of PS is different 2/28/2024 - Email rec'd requesting review of easement - may be sufficient for OMR 3/26/2024 - 3/29/2024 Due: OGC Review of easements 3/26/2024 - Case Closed 4/2/2024
ESC WP-23-60 | Meritage Homes of Florida Inc. | 0 Soutel Drive (RE# 041648-0000 & 0010) | Discharge of non-stormwater to City municipal separate storm sewer system (“MS4”); Failure to comply with erosion and sediment control requirements. | 2024-01-16 | - 4/16/2024 Payment received 4/4/2024 - Open until final Stabilization to ESC-24-03
WP-23-62 | SREIT Courtney Manor LLC -Courtney Manor Apt. | 5620 Collins Rd - [RE# 099119-0060] | Unpermitted Discharge of untreated wastewater to the ground and the surrounding environment; Failure to operate and maintain the System to remain operational. | 2024-01-16 | - 2/15/2024 Due: Education campaign 2/15/2024 - 3/15/2024 Due: Engineer report 2/20/2024 - 3/31/2024 Due: Final completion of repairs to the collection system - 4/12/2024 Due: Closure email
WP-23-53 | Rose Creek Condominium Association Inc. | 1604 Arcadia Drive (RE #099199-0501) | Discharge of untreated wastewater to the ground, surrounding environment and stormwater draining to MS4; Failure to comply with Wastewater Collection/Transmission System design standards; Failure to notify EQD of Discharge from the System and Failure to provide required records | 2023-10-23 | - Email reminder sent about status update and PS Monthly Maintenance due 10/30/2023 - Preliminary Eng Report submitted - waiting on approval at meeting to accept as the Engineering recommendations 11/28/2023 - Email sent to clarify engineering submittal to review 2/15/2024 - 12/22/2023 Due: Engineer Report
WP-23-57 | Deerwood Place Master Association Inc. | 4480 Deerwood Lake Pkwy | Discharge of untreated wastewater to the ground, surrounding environment and surface waters; Failure to use the required form for maintenance; Failure to notify EQD of Discharge from the System; and Failure to provide required records | 2023-10-23 | - Email sent demanding Engineer report and monthly maintenance reports 2/15/2024 - 12/30/2023 Due: Engineering Report 2/22/2024 - 2/29/2024 Due: Status update and reports 2/22/2024 - 3/8/2024 Due: PS review and send spreadsheet
WP-23-13 | Christian Brother LLC – Changing Lives Christian Academy | 7541 Lem Turner Rd | Unpermitted Discharge of untreated wastewater to the ground, stormwater, and surrounding environment; Failure to operate and maintain the System to remain operational; | 2023-09-25 | - 1/10/2024 Due: Payment 1/10/2024 - Pumps replaced, monitoring for 12 months
ESC WP-23-44 | Jax Edgewood Partners, LLC | 0 12th St | Discharge of non-stormwater to City Municipal Separate Storm Sewer System (“MS4”); Failure to comply with erosion and sediment control requirements | 2023-09-25 | - 10/25/2023 Due: Penalty 10/13/2023 - Closure upon final stabilization
WP-23-47 | Q and H LLC | 5161 Beach Blvd | Discharge of untreated wastewater to the ground, surrounding environment and stormwater draining to MS4; Allowing untreated wastewater into the storm sewer system; Failure to notify EQD of Discharge from the System and Failure to provide required records; Failure to provide safe, dry access to the Pump Station; Failure to perform required maintenance; and Failure to provide required records | 2023-09-25 | - 9/26/2023 Due: Engineer Report 9/26/2023 - Pumps have been replaced, control panel replaced. PS will be monitored for one year to ensure good operation 9/26/2023 - 1/31/2024 Due: explanation about pump 2 and missing PS reports 1/18/2024
ESC WP-23-38 | Homestead San Jose MF Owner LLC, RangeWater Development, LLC; Summit Contracting Group, Inc.; Pipeline Constructors, Inc.; Universal Engineering Sciences, LLC. | 6765 St Augustine Rd | Discharge of non-stormwater to City Municipal Separate Storm Sewer System (“MS4”); Turbidity discharge to surface water in exceedance of surface water quality standards | 2023-08-21 | - 9/23/2023 Due: Payment 8/22/2023 - This CO will remain open until Final Stabilization or vertical construction
WP-22-55 | Blanchard Apartments, LLC | 1515 Pullen Rd | Unlawful discharge and Failure to operate and maintain WWCTS with Pump Station to function as intended | 2023-07-17 | - Engineer was retained - Engineer report submitted 3/1/2024 - 3/1/2024 Due: JEA pressure letter received 3/1/2024
WP-23-07 | GSJ LP | 7703 India Ave, Hare-Jasper-Kona | Unpermitted Discharge of untreated wastewater to the ground and surrounding environment; Failure to operate and maintain the System to remain operational; failure to notify EQD of Discharge from the System | 2023-04-24 | - 11/16/2023 Due: CS lines with maintenance dates (revised due date) 1/31/2024 - Email sent to request late item 1/31/2024 - 2/16/2024 Due: CS lines with maintenance dates (new request)
WP-23-05 | BBK Investment, LLC - owner | 4317 University Boulevard South or 4331 University | Failure to notify EQD of Discharge from the System and provide required records | 2023-04-17 | - 8/11/2023 Due: return call 8/11/2023 - 9/22/2023 Due: Report cctv - Referred to OGC 12/22/2023 - Panama called PGJ about the Petition to Enforce 1/29/2024 - Panama submitted a proposal for the jetting and cctving but the proposal 2/1/2024 - Management company submitted receipt for jetting and televising lines. 2/8/2024 - 2/16/2024 Due: EQD to reach out to Panama to explain that a report is needed 2/15/2024 - 3/8/2024 Due: Camera Report | yes
WP-22-64 | Blue Hills Partners, LLC | 5971 Ramona Blvd | Unpermitted Discharge of untreated wastewater to the ground and surrounding environment; Failure to operate and maintain the System to remain operational; Failure to comply with Wastewater Collection/Transmission System design standards; Failure to notify EQD of Discharge from the System | 2023-03-20 | - 5/19/2023 Due: Engineering Report 5/19/2023 - Facility received new quote for contractor - previous contractor not responding 8/15/2023 - Chief asked for path forward 8/18/2023 - 3/1/2024 Due: Decision on directions as to PE, operators selected 3/1/2024 - 2/29/2024 Due: Status Update on required improvements 3/4/2024 - 4/30/2024 Due: Replace panel 3/26/2024 - 4/30/2024 Due: Install valve box or isolation valves in wetwell 3/26/2024 - 4/30/2024 Due: adjust ring to extend wet well lid above existing ground elevation 3/26/2024 - 4/30/2024 Due: telemetry 3/26/2024 - Pictures sent of work done 3/26/2024 - 3/15/2024 Due: Compliant Sign - 3/30/2024 Due: Install control floats to activate between lead/lag - 4/30/2024 Due: Install 2 new grinder pumps - 5/30/2024 Due: Final Engineering Report
WP-23-02 | Mary Albert | 1501 Lane Ave S | Unpermitted Discharge of untreated wastewater to the ground, MS4, and surrounding environment; Failure to operate and maintain the System to remain operational; failure to comply with Wastewater Collection/Transmission System design standards; failure to | 2023-03-20 | - 5/19/2023 Due: Engineering Report 5/3/2023 - Engineer report the control panel may take 6-8 weeks to arrive. 8/19/2023 - Chief requested status update 9/14/2023 - Received invoices and payment confirmation 2/1/2024 - Phone call received from engineer - all corrective actions have been completed except securing pump station - a fence is planned but has not been completed 2/15/2024
ESC-22-50 | Aireit Commonwealth Logistics Center LLC; Inlight Real Estate Acquisitions, LLC; and Dana B. Kenyon Company | 0 Imeson | Discharge of non-stormwater to MS4 and wetlands draining to Waters; Failure to comply with erosion and sediment control requirements | 2022-11-21 | - 12/21/2022 Due: Penalty 12/7/2022 - Site will be monitored periodically until final stabilization
WP-22-48 | Granite Country Roads LLC | 6537 - 6539 Townsend | Discharge of untreated wastewater to ground and Waters; Failure to operate and maintain the System to remain operational; Allowing stormwater to enter into a sewer designed to carry wastewater; Bypass of System or its Treatment Facility; Failure to comply with WWCTS design standards; Failure to notify EQD of Discharge and provide required records | 2022-11-21 | - 1/20/2023 Due: Engineer Report 12/31/2022 - Request for extension for sewer bypass until 5/31/24 12/6/2023
WP-22-43 | JJTA13 Real Properties LLC | 6253 and 6259 Wilson Blvd. | Discharge of untreated wastewater to the ground and surrounding environment draining to Waters; Failure to operate and maintain the System to remain operational, to function as intended, and to provide uninterrupted transmission of wastewater; Allowing wastewater to bypass the System or its Treatment Facility; Failure to notify EQD of Discharge from the System and provide required records | 2022-10-24 | - Referred to OGC for non-compliance with CO 2/1/2023 - Working with facility to get all documents submitted and set interim deadlines for progress | yes
WP-22-19 | Catalina Residences TIC I, LLC (30.37%), Catalina Residences TIC II, LLC (28.74%) and Catalina Residences TIC III, LLC (40.89%) | 1033 Bert Rd. | Unlawful discharge of untreated wastewater to the ground and surrounding environment; Failure to operate and maintain WWCTS with Pump Station to function as intended and to provide uninterrupted service; Unlawful bypass of the System or treatment facility; Failure to notify EQD of discharge of wastewater from the System | 2022-10-24 | - 12/23/2022 Due: Engineer Report - extension granted 6/24/2023 - 5/31/2023 Due: Engineer Report 6/24/2023 - 7/31/2023 Due: Repair Interior flow benches in MH1 and 6 - 7/31/2023 Due: Install new sign - 7/1/2023 Due: replace sewer clean-out caps - 10/22/2023 Due: New pump station - 2/12/2024 Due: Status Update on Eng. recommendations - 4/19/2024 Due: Status Update on Eng. recommendations and confirmation of monthly operator
WP-22-38 | Car Spa Atlantic Blvd. (Jacksonville) Operating Company, L.L.C. | 9715 Atlantic Blvd. | Discharge to ground and surrounding environment and nonstormwater to FDOT MS4; Bypass the System or its Treatment Facility; Failure to comply with WWCTS design standards; Failure to notify EQD of Discharge fand provide required records | 2022-10-24 | - 12/24/2022 Due: Engineer Report 8/28/2023 - Engineer update - need surveyor 11/14/2022 - requested survey 6/22/2023 - Survey received by Engineer 7/20/2023 - Email rec'd - monthly operator has been hired 7/26/2023 - Due: Duplex system - Engineer plan approved 10/20/2023 - Sent email for status update on Duplex system 2/16/2024 - Due: Status Update
WP-22-22 | A & S Hospitality Group LLC | 510 Lane Ave | Unpermitted Discharge of untreated wastewater to the ground and surrounding environment; Failure to operate and maintain WWCTS with Pump Station to remain operational, to function as intended, and to provide uninterrupted transmission of wastewater; Allowing stormwater to enter into a sewer designed to carry wastewater; Allowing wastewater to bypass the System or its Treatment Facility; Failure to comply with WWCTS design standards; Failure to perform required maintenance at the System and/or have required records; Failure to notify EQD of Discharge from the System and provide required records | 2022-08-15 | - 9/30/2022 Due: Engineer Report - Engineer previously advised to replace grease trap, clean lines and then he would update report. 11/30/2022 - Sent engineer email asking for update 4/24/2023 - Sent engineer email asking for update 2/5/2024
WP-22-21 | Leos Liquor Express, Inc. | 904 Edgewood Ave N. | Unpermitted Discharge of untreated wastewater to the ground, surrounding environment and municipal separate stormwater sewer system (“MS4”); Failure to operate and maintain the WWCTS with Pump Station to remain operational, to function as intended, and to provide uninterrupted transmission of wastewater to the Regional Sewer Utility point of connection; Unlawful bypass of the System or its Treatment Facility; Failure to notify EQD of discharge and submit required records | 2022-08-15 | - 10/14/2022 Due: Engineer Report (Bob Phillips had delays - needed extension of time 11/30/2022 - 4/30/2023 Due: Engineer Report - Sent email requesting status update to engineer 2/5/2024
WP-22-25 | Double Naught, Inc. | 5351 Normandy Blvd. | Unpermitted Discharge of untreated wastewater to the ground, surrounding environment and MS4; Failure to operate and maintain the System to remain operational, to function as intended, and to provide uninterrupted transmission of wastewater; Allowing wastewater to bypass the System or its Treatment Facility; Failure to comply with Wastewater Collection/Transmission System design standards; Failure to notify EQD of Discharge from the System and provide required records | 2022-08-15 | - 2/28/2023 Due: Permit Application - Engineer researching gravity option - Follow up with in-house to see if permit application was submitted - staff indicated they spoke with engineer and would be submitting permit next week 5/22/2023
WP-22-04 | WFC Fund II Pablo, LLC; Target Corporation; Bank of America, National Association; Truist Bank d/b/a Sun Trust Bank; Central Diagnostic Laboratory; RB Store Property, LLC; South State Corporation | 13740 Beach Blvd. et al. | Unlawful discharge of untreated wastewater to the ground, surrounding environment and stormwater; Failure to operate and maintain the OEA Permitted System to function as intended and to provide uninterrupted service; Unlawful bypass of the OEA System or treatment facility; Failure to notify EQD of discharge and provide required records | 2022-05-16 | - 6/16/2022 Due: Payment 5/31/2022 - 7/16/2022 Due: Engineer report 9/12/2022 - Requested additional Information 10/10/2022 - Engineer Response received 10/27/2022 - 2/29/2024 Due: Timing of Panel Installation 2/16/2024 - 2/23/2024 Due: JEA will email FOG information - 3/31/2024 Due: Panel Installation
WP-22-14 | 2015 SAC Self-Storage, LLC, a foreign limited liability company, as successor by merger to PM Partners L.P. | 7052 103rd St. | Unlawful discharge of untreated wastewater to the ground, surrounding environment and stormwater MS4; Unlawful bypass of the System or treatment facility; Failure to comply with wastewater collection/transmission system design standards; Failure to notify EQD of discharge and provide required records | 2022-05-16 | - 6/15/2022 Due: Payment 6/15/2022 - 7/16/2022 Due: Engineer Report 6/15/2023 - Sent email stating engineer report was not complete 6/15/2022 - 6/30/2022 Due: Engineer Report 6/30/2022 - Sent RAI 7/22/2022 - 8/22/2022 Due: RAI on engineer report 7/28/2022 - 3/1/2024 Due: Review case for closure
WP-21-45 | Malabar Motel and Mobile Home Park LLC | 8375 New Kings Rd. | Unlawful discharge of wastewater to ground and surrounding environment; Failure to maintain WWCTS with lift station; Unlawful bypass of treatment facility; Failure to comply with sewerage design standards; Failure to notify EQD of discharge and provide required records | 2022-04-18 | - 5/18/2022 Due: Penalty 5/17/2022 - Due: Engineer report 4/28/2022 - Email confirmed they found their point of connection to JEA 7/8/2022 - Owner to provide easement for access to this POC 7/8/2022 - EQD met with engineer to discuss steps to complete permit application 7/23/2022 - Waiting on owner to provide easement information - need survey 6/22/2023
WP-21-66 | Toro Jax Property II LLC, DC Montgomery Property II LLC, DJ Montgomery II LLC, DiRenzo Real Estate Management II LLC, tenants in common | 4800 Atlantic Blvd. | Unlawful discharge of untreated wastewater to the ground, surrounding environment and stormwater draining to surface water; Failure to operate and maintain the System to function as intended and to provide uninterrupted service; Unlawful bypass of the System or treatment facility; Failure to notify EQD of discharge and provide required records | 2021-11-15 | - 12/31/2021 Due: Engineer Report 5/13/2022 - RAI questions sent 6/3/2022 - 6/18/2022 Due: response to RAI 7/28/2022 - Engineer status report submitted 6/30/2022 - Engineer report accepted 7/28/2022 - Telemetry specs were approved 8/1/2022 - Due: Raising MH 5 and 8 to grade & repair ETM - Due: ETM repair 6/17/2022 - Due: Install new Mayers VS50 grinder pump 6/30/2022 - 8/15/2022 Due: Telemetry information 7/28/2022 - Due: float alarms between lead/lag - Due: camera investigation - Chief sent email requested update on status of activities and requested PS reports for August 2023 to present 2/13/2024 - 2/29/2024 Due: update and PS reports | Yes
WP-21-46 | Monterey at Beach Boulevard Condominium Association, Inc. | 12171 Beach Blvd. | Unlawful discharge of untreated wastewater to the ground, surrounding environment and stormwater; Failure to maintain wastewater collection/transmission system to function as intended; Unlawful bypass of system or treatment facility; Failure to comply with sewerage design standards; Failure to notify EQD of discharge and provide required records | 2021-09-20 | - 10/20/2021 Due: Payment | Yes
WP-19-105 | Cedar Creek Landing Condominium Association, Inc. | 5615 San Juan Ave. | Unlawful discharge from building of untreated wastewater to surface waters; exceedance of water quality standards (Cedar River); WWCTS lift station not malfunctioning | 2021-06-21 | - Referred to OGC 12/18/2021 - 3/25/2024 Due: Melissa's review | Yes
WP-17-43 | The Preserve at St. Nicholas Investment, LLC; The Preserve at St. Nicholas Condominium Association, Inc.; Team Real Estate Solutions | 3952 Atlantic Blvd. | Unlawful discharge of wastewater; failure to maintain collection lines; unlawful bypass of treatment facility; failure to notify EQD | 2019-11-16 | - 3/15/2024 Due: Melissa's Review - 60 days Due: Engineer Report - Engineer update - having problems getting contractos to bid for final line replacement 11/9/2022
WP-18-16 | Infinity Magnolia LLC [Magnolia Terrace Apts] | 2045 Jammes Rd. | Unlawful discharge; failure to maintain system; bypass of treatment facility | 2019-09-16 | - Submitted a low-flow project completion reducing flow by over 30% 3/22/2024 - 12/31/2024 Due: gravity lines/manhole - 12/31/2024 Due: final compliance