Copyright 2018 by The American Institute of Architects (AIA)

Exclusively published and distributed by AVITRU, LLC for the AIA

This Product MasterSpec Section is licensed by AVITRU, LLC to Metal-Era, Inc. ("Licensee").

This Product MasterSpec Section modifies the original MasterSpec text and does not include the full content of the original MasterSpec Section.

Revisions made to the original MasterSpec text are made solely by the Licensee and are not endorsed by, or representative of the opinions of, Avitru or The American Institute of Architects (AIA). Neither AIA nor Avitru are liable in any way for such revisions or for the use of this Product MasterSpec Section by any end user. A qualified design professional should review and edit the document to suit project requirements.

For more information, contact Metal-Era, Inc., 1600 Airport Rd., Waukesha, WI 53188; Phone: (800) 558-2162; Fax: (800) 373-9156; Website: www.metalera.com; Email: info@metalera.com.

For information about MasterSpec, contact Avitru at (800) 424-5080 or visit avitru.com.

SECTION 061053 - MISCELLANEOUS ROUGH CARPENTRY

TIPS:

To view non-printing Editor's Notes that provide guidance for editing, click on MasterWorks/Single-File Formatting/Toggle/Editor's Notes.

To read detailed research, technical information about products and materials, and coordination checklists, click on MasterWorks/Supporting Information.

Access Product MasterSpec Sections:

<Double click here to view the list of manufacturer Sections available at ProductMasterSpec.com.>

Revise this Section by deleting and inserting text to meet Project-specific requirements.

Verify that Section titles referenced in this Section are correct for this Project's Specifications; Section titles may have changed.

GENERAL

RELATED DOCUMENTS

Retain or delete this article in all Sections of Project Manual.

Drawings and general provisions of the Contract, including General and Supplementary Conditions and Division 01 Specification Sections, apply to this Section.

SUMMARY

Section Includes:

Framing with dimension lumber.

Rooftop equipment bases and support curbs.

Wood blocking[, cants,] and nailers.

Wood furring[ and grounds].

Wood sleepers.

Delete first subparagraph below if specified as finish carpentry.

Utility shelving.

Plywood backing panels.

Related Requirements:

Retain subparagraphs below to cross-reference requirements Contractor might expect to find in this Section but are specified in other Sections.

Section 061600 "Sheathing" for sheathing, subflooring, and underlayment.

Section 061753 "Shop-Fabricated Wood Trusses" for wood trusses made from dimension lumber.

Borate treatment in Section 313116 "Termite Control" may be an acceptable substitute for borate-treated wood specified in this Section. Delete subparagraph below if borate treatment is specified in this Section.

Section 313116 "Termite Control" for site application of borate treatment to wood framing.

DEFINITIONS

Retain terms that remain after this Section has been edited for a project.

Boards or Strips: Lumber of less than 2 inches nominal (38 mm actual) size in least dimension.

Dimension Lumber: Lumber of 2 inches nominal (38 mm actual) or greater size but less than 5 inches nominal (114 mm actual) size in least dimension.

ACTION SUBMITTALS

Product Data: For each type of process and factory-fabricated product. Indicate component materials and dimensions and include construction and application details.

Include data for wood-preservative treatment from chemical treatment manufacturer and certification by treating plant that treated materials comply with requirements. Indicate type of preservative used and net amount of preservative retained.

Include data for fire-retardant treatment from chemical treatment manufacturer and certification by treating plant that treated materials comply with requirements. Include physical properties of treated materials based on testing by a qualified independent testing agency.

For fire-retardant treatments, include physical properties of treated lumber both before and after exposure to elevated temperatures, based on testing by a qualified independent testing agency in accordance with ASTM D5664.

For products receiving a waterborne treatment, include statement that moisture content of treated materials was reduced to levels specified before shipment to Project site.

Sustainable Design Submittals:

"Product Certificates" Subparagraph below applies to LEED 2009, Credit MR 5, "Regional Materials."

Product Certificates: For regional materials, indicating location of material manufacturer and point of extraction, harvest, or recovery for each raw material. Include distance to Project and cost for each regional material.

Retain first three subparagraphs below to be eligible for LEED v4 credit. See the Evaluations.

"Environmental Product Declaration (EPD)" Subparagraph below applies to LEED v4 (all) MR Credit, "Building Product Disclosure and Optimization - Environmental Product Declarations." Confirm with manufacturer that EPDs are available for each product.

Environmental Product Declaration (EPD): For each product.

"Health Product Declaration (HPD)" Subparagraph below applies to LEED v4 (all) MR Credit, "Building Product Disclosure and Optimization - Material Ingredients, Option 1 - Material Ingredient Reporting." Confirm with manufacturer that HPDs are available and comply with requirements of the HPD Open Standard or approved USGBC program.

Health Product Declaration (HPD): For each product.

"Sourcing of Raw Materials" Subparagraph below applies to LEED v4 (all) MR Credit, "Building Project Disclosure and Optimization - Sourcing of Raw Materials, Option 1 - Raw Material Source and Extraction Reporting." Confirm with manufacturer that corporate sustainability reports are available, have been prepared within the last year or are applicable to the year of production, and are by an organization approved by the USGBC.

Sourcing of Raw Materials: Corporate sustainability report for each manufacturer.

"Product Certificates" Subparagraph below applies to IgCC, which requires that a minimum of 55 percent of building materials or products be extracted, harvested, manufactured, or recovered within 500 miles (800 km) of Project. See IgCC-2012, 505.2.5.

Product Certificates: For indigenous materials, indicating location of material manufacturer and point of extraction, harvest, or recovery for each raw material. Include distance to Project, means of transportation, and cost for each indigenous material.

Retain "Environmental Product Declaration (EPD)" Subparagraph below if products specified in the Section are required to have an EPD to comply with IgCC's requirement of 55 percent recycled materials.

Environmental Product Declaration (EPD): For each product.

"Environmental Product Declaration (EPD)," "Third-Party Certifications," and "Third-Party Certified Life-Cycle Assessment" subparagraphs below apply to Green Globes v1.4 if products specified in the Section are used to comply with requirements of paragraph 3.5.1.2 "Path B: Prescriptive Path for Building Core and Shell," which requires that a certain percentage of the materials used in the core and shell have EPDs, third-party certifications, and/or third-party life-cycle assessments.

Environmental Product Declaration: For each product.

Third-Party Certifications: For each product.

Third-Party Certified Life Cycle Assessment: For each product.

Chain-of-Custody Certificates: For certified wood products. Include statement of costs.

"Chain-of-Custody Qualification Data" Subparagraph below applies to LEED 2009 and LEED v4.

Chain-of-Custody Qualification Data: For manufacturer and vendor.

"Product Data" Subparagraph below applies to LEED 2009 NC, CI, and CS; LEED v4; IgCC; and Green Globes. Coordinate with requirements for adhesives.

Product Data: For installation adhesives, indicating VOC content.

"Laboratory Test Reports" Subparagraph below applies to LEED 2009 for Schools, LEED v4, IgCC, and Green Globes. Coordinate with requirements for adhesives.

Laboratory Test Reports: For installation adhesives, indicating compliance with requirements for low-emitting materials.

INFORMATIONAL SUBMITTALS

Evaluation Reports: For the following, from ICC-ES:

Preservative-treated wood.

Fire-retardant-treated wood.

Power-driven fasteners.

Post-installed anchors.

Metal framing anchors.

QUALITY ASSURANCE

Testing Agency Qualifications: For testing agency providing classification marking for fire-retardant-treated material, an inspection agency acceptable to authorities having jurisdiction that periodically performs inspections to verify that the material bearing the classification marking is representative of the material tested.

Retain first "Manufacturer Qualifications" Paragraph below if required for LEED 2009.

Manufacturer Qualifications: A qualified manufacturer that is certified for chain of custody by an FSC-accredited certification body.

Retain "Manufacturer Qualifications" Paragraph below if required for LEED v4.

Manufacturer Qualifications: A qualified manufacturer that is certified for chain of custody by an FSC-accredited certification body.

Retain first "Vendor Qualifications" Paragraph below if required for LEED 2009.

Vendor Qualifications: A vendor that is certified for chain of custody by an FSC-accredited certification body.

Retain "Vendor Qualifications" Paragraph below if required for LEED v4.

Vendor Qualifications: A vendor that is certified for chain of custody by an FSC-accredited certification body.

DELIVERY, STORAGE, AND HANDLING

Stack lumber flat with spacers beneath and between each bundle to provide air circulation. Protect lumber from weather by covering with waterproof sheeting, securely anchored. Provide for air circulation around stacks and under coverings.

PRODUCTS

Manufacturers and products listed in SpecAgent and MasterWorks Paragraph Builder are neither recommended nor endorsed by the AIA or Avitru. Before inserting names, verify that manufacturers and products listed there comply with requirements retained or revised in descriptions and are both available and suitable for the intended applications. For definitions of terms and requirements for Contractor's product selection, see Section 016000 "Product Requirements."

WOOD PRODUCTS, GENERAL

First "Regional Materials" Paragraph below applies to LEED 2009 NC, CS, or LEED 2009 for Schools, Credit MR 5 and LEED 2009 CI, Credit MR 5, Option 2.

Regional Materials: Dimension lumber[, except treated materials,] shall be manufactured within 500 miles (800 km) of Project site from materials that have been extracted, harvested, or recovered, as well as manufactured, within 500 miles (800 km) of Project site.

First "Regional Materials" Paragraph below applies to LEED 2009 CI, Credit MR 5, Option 1.

Regional Materials: Dimension lumber[, except treated materials,] shall be manufactured within 500 miles (800 km) of Project site.

"Regional Materials" Paragraph below applies to LEED v4.

Regional Materials: Dimension lumber[, except treated materials,] shall be manufactured within 100 miles (160 km) of Project site from materials that have been extracted, harvested, or recovered, as well as manufactured, within 100 miles (160 km) of Project site.

"Indigenous Materials" Paragraph below applies to IgCC; before retaining, verify availability of materials that comply.

Indigenous Materials: Dimension lumber[, except treated materials,] shall be manufactured within 500 miles (800 km) of Project site from materials that have been extracted, harvested, or recovered, as well as manufactured, within 500 miles (800 km) of Project site. If materials are transported by rail or water, the distance transported by rail or water shall be multiplied by 0.25 to determine the distance to Project site.

First "Certified Wood" Paragraph below applies to LEED 2009. Manufacturers certifying products as "FSC Mixed Credit" do not have to use 100 percent certified wood in the products; however, in their total production, manufacturers must use an amount equal to or greater than the percentage of their production that is labeled "FSC Mixed Credit."

Certified Wood: [Lumber] [and] [plywood] shall be certified as "FSC Pure"[ or "FSC Mixed Credit"] in accordance with FSC STD-01-00 and FSC STD-40-004.

First "Certified Wood" Paragraph below applies to LEED v4. Manufacturers certifying products as "FSC Mixed Credit" do not have to use 100 percent certified wood in the products; however, in their total production, manufacturers must use an amount equal to or greater than the percentage of their production that is labeled "FSC Mixed Credit."

Certified Wood: [Lumber] [and] [plywood] shall be certified as "FSC Pure"[ or "FSC Mixed Credit"] in accordance with FSC STD-01-001 and FSC STD-40-004.

First "Certified Wood" Paragraph below applies to IgCC.

Certified Wood: [Lumber] [and] [plywood] shall be labeled in accordance with the AF&PA's Sustainable Forestry Initiative, be certified as "FSC Pure" in accordance with FSC STD-01-001 and FSC STD-40-004, or be certified and labeled in accordance with the standards of the Programme for Endorsement of Forest Certification.

"Certified Wood" Paragraph below applies to Green Globes.

Certified [Lumber] [and] [plywood] products shall be certified in accordance with the American Tree Farm System's "AFF Standard," the AF&PA's Sustainable Forestry Initiative, FSC STD-01-001 and FSC STD-40-004, or the standards of the Programme for Endorsement of Forest Certification.

Lumber: DOC PS 20 and applicable rules of grading agencies indicated. If no grading agency is indicated, provide lumber that complies with the applicable rules of any rules-writing agency certified by the ALSC Board of Review. Provide lumber graded by an agency certified by the ALSC Board of Review to inspect and grade lumber under the rules indicated.

Factory mark each piece of lumber with grade stamp of grading agency.

Retain only first option in first subparagraph below if authorities having jurisdiction require grade stamps on all materials.

For exposed lumber indicated to receive a stained or natural finish, [mark grade stamp on end or back of each piece] [or] [omit grade stamp and provide certificates of grade compliance issued by grading agency].

Revise subparagraph below if rough lumber is acceptable for all work.

Dress lumber, S4S, unless otherwise indicated.

Retain one of five options in "Maximum Moisture Content of Lumber" Paragraph below, or delete paragraph if green lumber is acceptable in all thicknesses. Verify availability of lumber with 15 percent maximum moisture content before retaining. Lumber more than 2 inches nominal (38 mm actual) in thickness is often shipped green. See the Evaluations.

Maximum Moisture Content of Lumber: [15 percent] [19 percent] [15 percent for 2-inch nominal (38-mm actual) thickness or less, 19 percent for more than 2-inch nominal (38-mm actual) thickness] [15 percent for 2-inch nominal (38-mm actual) thickness or less; no limit for more than 2-inch nominal (38-mm actual) thickness] [19 percent for 2-inch nominal (38-mm actual) thickness or less; no limit for more than 2-inch nominal (38-mm actual) thickness] unless otherwise indicated.

WOOD-PRESERVATIVE-TREATED MATERIALS

Preservative Treatment by Pressure Process: AWPA U1; Use Category UC2[ for interior construction not in contact with ground, Use Category UC3b for exterior construction not in contact with ground, and Use Category UC4a for items in contact with ground].

See the Evaluations in Section 061000 "Rough Carpentry" for information about treatment chemicals.

Preservative Chemicals: Acceptable to authorities having jurisdiction and containing no arsenic or chromium.[ Do not use inorganic boron (SBX) for sill plates.]

Retain subparagraph below for exposed framing if considered necessary.

For exposed items indicated to receive a stained or natural finish, chemical formulations shall not require incising, contain colorants, bleed through, or otherwise adversely affect finishes.

Kiln-dry lumber after treatment to a maximum moisture content of 19 percent. Do not use material that is warped or does not comply with requirements for untreated material.

Mark lumber with treatment quality mark of an inspection agency approved by the ALSC Board of Review.

Retain only first option in subparagraph below if authorities having jurisdiction require quality mark on all materials.

For exposed lumber indicated to receive a stained or natural finish, [mark end or back of each piece] [or] [omit marking and provide certificates of treatment compliance issued by inspection agency].

Retain first option in "Application" Paragraph below and delete list that follows if all rough carpentry must be treated with wood preservative. Coordinate paragraph and list with requirements for fire-retardant-treated materials; wood cannot be both preservative treated and fire-retardant treated.

Application: Treat [all miscellaneous carpentry unless otherwise indicated.] [items indicated on Drawings, and the following:]

Retain first subparagraph below if Project includes wood adjacent to roofing or waterproofing.

Wood cants, nailers, curbs, equipment support bases, blocking, stripping, and similar members in connection with roofing, flashing, vapor barriers, and waterproofing.

Wood sills, sleepers, blocking, [furring,] [stripping,] and similar concealed members in contact with masonry or concrete.

Wood framing and furring attached directly to the interior of below-grade exterior masonry or concrete walls.

Wood framing members that are less than 18 inches (460 mm) above the ground in crawlspaces or unexcavated areas.

Wood floor plates that are installed over concrete slabs-on-grade.

Insert other items that require treatment but are not likely to be indicated on Drawings.

FIRE-RETARDANT-TREATED MATERIALS

General: Where fire-retardant-treated materials are indicated, materials shall comply with requirements in this article, that are acceptable to authorities having jurisdiction, and with fire-test-response characteristics specified as determined by testing identical products per test method indicated by a qualified testing agency.

Fire-Retardant-Treated Lumber and Plywood by Pressure Process: Products with a flame-spread index of 25 or less when tested in accordance with ASTM E84, and with no evidence of significant progressive combustion when the test is extended an additional 20 minutes, and with the flame front not extending more than 10.5 ft. (3.2 m) beyond the centerline of the burners at any time during the test.

Treatment shall not promote corrosion of metal fasteners.

Exterior type is suitable for both exterior and interior applications. Interior type is only for interior applications.

Exterior Type: Treated materials shall comply with requirements specified above for fire-retardant-treated lumber and plywood by pressure process after being subjected to accelerated weathering in accordance with ASTM D2898. Use for exterior locations and where indicated.

Interior Type A: Treated materials shall have a moisture content of 28 percent or less when tested in accordance with ASTM D3201 at 92 percent relative humidity. Use where exterior type is not indicated.

Retain option in "Design Value Adjustment Factors" Subparagraph below if applicable. Revise description of locations to suit Project. Verify adjustment factors with Project's structural engineer.

Design Value Adjustment Factors: Treated lumber shall be tested in accordance with ASTM D5664, and design value adjustment factors shall be calculated in accordance with ASTM D6841.[ For enclosed roof framing, framing in attic spaces, and where high-temperature fire-retardant treatment is indicated, provide material with adjustment factors of not less than 0.85 modulus of elasticity and 0.75 for extreme fiber in bending for Project's climatological zone.]

Retain option in first paragraph below if required for plywood backing panels.

Kiln-dry lumber after treatment to a maximum moisture content of 19 percent.[ Kiln-dry plywood after treatment to a maximum moisture content of 15 percent.]

Identify fire-retardant-treated wood with appropriate classification marking of qualified testing agency.

In subparagraph below, retain only first option if authorities having jurisdiction require classification marking on all materials.

For exposed lumber indicated to receive a stained or natural finish, [mark end or back of each piece] [or] [omit marking and provide certificates of treatment compliance issued by inspection agency].

Delete or revise first paragraph below if no exposed framing or if staining will hide colorants.

For exposed items indicated to receive a stained or natural finish, chemical formulations shall not bleed through, contain colorants, or otherwise adversely affect finishes.

Retain first option in "Application" Paragraph below and delete list that follows if all rough carpentry must be treated with fire retardant. Coordinate paragraph and list with requirements for wood-preservative-treated materials; wood cannot be both preservative treated and fire-retardant treated.

Application: Treat [all miscellaneous carpentry unless otherwise indicated.] [items indicated on Drawings, and the following:]

Framing for raised platforms.

Concealed blocking.

Roof framing and blocking.

Wood cants, nailers, curbs, equipment support bases, blocking, and similar members in connection with roofing.

Plywood backing panels.

Insert other items that require treatment but are not likely to be indicated on Drawings.

DIMENSION LUMBER FRAMING

"Non-Load-Bearing Interior Partitions" Paragraph below refers to non-load-bearing construction. Designate load-bearing walls on Drawings if retaining this distinction. If only non-load-bearing framing is included, change title of paragraph to "Framing" and delete "Other Framing" Paragraph.

Retain one of three options for grade below. Construction and No. 2 grades allow fewer defects than Stud, Standard, and No. 3 grades.

Non-Load-Bearing Interior Partitions: [Construction or No. 2] [Construction, Stud, or No. 3] [Standard, Stud, or No. 3] grade of [any species.] [any of the following species:] [the following species:]

Revise list below; usually retain all species that meet requirements except those unavailable in Project's location. Species groups are listed in order of decreasing modulus of elasticity. Some species groups below overlap others; delete subparagraphs as necessary to eliminate duplication.

Hem-fir (north); NLGA.

Mixed southern pine or southern pine; SPIB.

Spruce-pine-fir; NLGA.

Hem-fir; WCLIB or WWPA.

Spruce-pine-fir (south); NeLMA, WCLIB, or WWPA.

Species group below includes hem-fir (north) and spruce-pine-fir.

Northern species; NLGA.

Species group below includes spruce-pine-fir (south).

Eastern softwoods; NeLMA.

Species group below includes hem-fir and spruce-pine-fir (south).

Western woods; WCLIB or WWPA.

If retaining "Other Framing" Paragraph below, retain one of three options for grade or revise to suit Project; verify with structural requirements.

Other Framing: [No. 2] [Construction or No. 2] [Construction, Stud, or No. 3] grade of [any of the following] [the following] species:

Revise list below; usually retain all species that meet requirements except those unavailable in Project's location. Species groups are listed in order of decreasing strength (extreme fiber in bending).

Hem-fir (north); NLGA.

Southern pine; SPIB.

Douglas fir-larch; WCLIB or WWPA.

Delete "Southern pine; SPIB" Subparagraph if retaining first subparagraph below.

Southern pine or mixed southern pine; SPIB.

Spruce-pine-fir; NLGA.

Douglas fir-south; WWPA.

Hem-fir; WCLIB or WWPA.

Douglas fir-larch (north); NLGA.

Spruce-pine-fir (south); NeLMA, WCLIB, or WWPA.

MISCELLANEOUS LUMBER

General: Provide miscellaneous lumber indicated and lumber for support or attachment of other construction, including the following:

Blocking.

Nailers.

Rooftop equipment bases and support curbs.

Cants.

Furring.

Grounds.

Utility shelving.

Dimension Lumber Items: [Construction or No. 2] [Standard, Stud, or No. 3] grade lumber of [any species.] [any of the following species:] [the following species:]

Usually, retain all species below that meet requirements except those unavailable in Project's location. Species groups are listed in order of decreasing strength (extreme fiber in bending). Some species groups below overlap others; delete subparagraphs as necessary to eliminate duplication.

Hem-fir (north); NLGA.

Mixed southern pine or southern pine; SPIB.

Spruce-pine-fir; NLGA.

Hem-fir; WCLIB or WWPA.

Spruce-pine-fir (south); NeLMA, WCLIB, or WWPA.

Species group below includes hem-fir and spruce-pine-fir (south).

Western woods; WCLIB or WWPA.

Species group below includes hem-fir (north) and spruce-pine-fir.

Northern species; NLGA.

Species group below includes spruce-pine-fir (south).

Eastern softwoods; NeLMA.

Utility Shelving: Lumber with [15] [19] percent maximum moisture content of [any of the following] [the following] species and grades:

Revise list below; usually retain all species that meet requirements except those unavailable in Project's location. Species groups below are not necessarily of equal quality even when of same grade.

Eastern white pine, Idaho white, lodgepole, ponderosa, or sugar pine; [Premium or No. 2 Common (Sterling)] [Standard or No. 3 Common] grade; NeLMA, NLGA, WCLIB, or WWPA.

Mixed southern pine or southern pine [No. 1] [No. 2] grade; SPIB.

Hem-fir or hem-fir (north), [Select Merchantable or No. 1 Common] [Construction or No. 2 Common] grade; NLGA, WCLIB, or WWPA.

Spruce-pine-fir (south) or spruce-pine-fir, [Select Merchantable or No. 1 Common] [Construction or No. 2 Common] grade; NeLMA, NLGA, WCLIB, or WWPA.

Retain "Concealed Boards" Paragraph below for furring, grounds, and nailing strips if required and for truss bracing specified by referencing this Section.

Concealed Boards: [15] [19] percent maximum moisture content of [any of the following] [the following] species and grades:

Revise list below; usually retain all species that meet requirements except those unavailable in Project's location. Species groups below are not necessarily of equal quality even when of same grade.

Mixed southern pine or southern pine, [No. 2] [No. 3] grade; SPIB.

Hem-fir or hem-fir (north), [Construction or No. 2 Common] [Standard or No. 3 Common] grade; NLGA, WCLIB, or WWPA.

Spruce-pine-fir (south) or spruce-pine-fir, [Construction or No. 2 Common] [Standard or No. 3 Common] grade; NeLMA, NLGA, WCLIB, or WWPA.

Three species groups below include last two above; if retaining any of three below, delete one of, or both, above to eliminate duplication.

Eastern softwoods, [No. 2] [No. 3] Common grade; NELMA.

Northern species, [No. 2] [No. 3] Common grade; NLGA.

Western woods, [Construction or No. 2 Common] [Standard or No. 3 Common] grade; WCLIB or WWPA.

For blocking not used for attachment of other construction, Utility, Stud, or No. 3 grade lumber of any species may be used provided that it is cut and selected to eliminate defects that will interfere with its attachment and purpose.

Retain paragraph below for steep-slope roofing.

For blocking and nailers used for attachment of other construction, select and cut lumber to eliminate knots and other defects that will interfere with attachment of other work.

Retain paragraph below for low-slope roofing.

For nailers used for attachment to wood nailers, metal deck or masonry wall construction, use FM Approvals FM 1-49 compliant extruded-aluminum nailers.

Retain "Basis-of-Design Product" Subparagraph and list of manufacturers below to require a specific product.

For Metal-Eras's "Eliminailer-T," see www.metalera.com/Wood-Nailer-Alternative.

Basis-of-Design Product: Subject to compliance with requirements, provide Metal-Era, Inc.; Eliminailer-T or comparable product.

Wind Design for Edge Systems Used with Low-Slope Roofing Systems (ANSI/SPRI/FM 4435/ES-1): 600 psi (4.14 MPa).

Retain first or second option in "Material" Subparagraph below for Metal-Eras's height and flange dimensions of 1-1/2 by 2-1/2 inches (38 by 64 mm) or 3 by 2-1/2 inches (76 by 64 mm); third option, for 5.2 by 4 inches (132 by 102 mm) or 5.2 by 5-1/2 inches (132 by 140 mm).

Material: [0.080-inch (2.02-mm)] [0.100-inch (2.54-mm)] [0.125-inch (3.17-mm)] thick, extruded aluminum.

Extruded Length: 12 ft. (3.65 m).

Retain first option in "Height" Subparagraph below for rigid polyiso insulation 1-1/2 to 2 inches (38 to 51 mm) thick; second option, for 3 to 3-1/2 inches (76 to 89 mm) thick.

Height: [1-1/2 inches (38 mm)] [3 inches (76 mm)] [5.2 inches (132 mm)].

Horizontal Roof Flange onto Substrate: [2-1/2 inches (64 mm)] [4 inches (102 mm)] [5-1/2 inches (140 mm)].

Holes: 9/32-by-3/8-inch (7-by10-mm) slotted holes, staggered at 6 inches (152 mm) o.c.

For furring strips for installing plywood or hardboard paneling, select boards with no knots capable of producing bent-over nails and damage to paneling.

PLYWOOD BACKING PANELS

See the Evaluations in Section 061600 "Sheathing" for information on plywood grades.

Equipment Backing Panels: Plywood, DOC PS 1, [Exterior, A-C] [Exterior, C-C Plugged] [Exposure 1, C-D Plugged], [fire-retardant treated,] in thickness indicated or, if not indicated, not less than [1/2-inch (13-mm)] [3/4-inch (19-mm)] nominal thickness.

FASTENERS

General: Provide fasteners of size and type indicated that comply with requirements specified in this article for material and manufacture.

Where carpentry is exposed to weather, in ground contact, pressure-preservative treated, or in area of high relative humidity, provide fasteners[ with hot-dip zinc coating complying with ASTM A153/A153M] [of Type 304 stainless steel].

Nails, Brads, and Staples: ASTM F1667.

Retain "Screws for Fastening to Metal Framing" Paragraph below for fastening plywood backing panels to metal studs. First option is for "drywall-type" non-load-bearing steel framing; second is for cold-formed metal framing, which is typically load bearing.

Screws for Fastening to Metal Framing: [ASTM C1002] [ASTM C954], length as recommended by screw manufacturer for material being fastened.

Power-Driven Fasteners: Fastener systems with an evaluation report acceptable to authorities having jurisdiction, based on ICC-ES AC70.

ICC-ES AC01 and ICC-ES AC193 are for mechanical anchors in masonry and concrete, respectively; ICC-ES AC58 and ICC-ES AC308 are for adhesive anchors in masonry and concrete.

Post-Installed Anchors: Fastener systems with an evaluation report acceptable to authorities having jurisdiction, based on [ICC-ES AC01] [ICC-ES AC58] [ICC-ES AC193] [or] [ICC-ES AC308] as appropriate for the substrate.

Two "Material" subparagraphs below are examples only. First subparagraph protects against corrosion in an indoor atmosphere; revise to suit other service conditions after verifying availability of thicker coatings.

Material: Carbon-steel components, zinc plated to comply with ASTM B633, Class Fe/Zn 5.

Material: Stainless steel with bolts and nuts complying with ASTM F593 and ASTM F594, Alloy Group 1 or 2 (ASTM F738M and ASTM F836M, Grade A1 or A4).

METAL FRAMING ANCHORS

Retain "Manufacturers" Subparagraph and list of manufacturers below to require products from manufacturers listed or a comparable product from other manufacturers.

Manufacturers: Subject to compliance with requirements, provide products by one of the following:

Cleveland Steel Specialty Co.

KC Metals Products, Inc.

Phoenix Metal Products, Inc.

Simpson Strong-Tie Co., Inc.

USP Structural Connectors.

<Insert manufacturer's name>.

Galvanized steel is typical for most manufacturers and is suitable for most applications.

Galvanized-Steel Sheet: Hot-dip, zinc-coated steel sheet complying with ASTM A653/A653M, G60 (Z180) coating designation.

Use for interior locations unless otherwise indicated.

Hot-Dip, Heavy-Galvanized Steel Sheet: ASTM A653/A653M; Structural Steel (SS), high-strength low-alloy steel Type A (HSLAS Type A), or high-strength low-alloy steel Type B (HSLAS Type B); G185 (Z550) coating designation; and not less than 0.036 inch (0.9 mm) thick.

Use for wood-preservative-treated lumber and where indicated.

Type 304 is usually standard for stainless steel; Type 316 gives better corrosion resistance for exposed applications in coastal environments.

Stainless Steel Sheet: ASTM A240/A240M or ASTM A666, [Type 304] [Type 316].

Use for exterior locations and where indicated.

MISCELLANEOUS MATERIALS

Adhesives for Gluing [Furring] [and] [Sleepers] to Concrete or Masonry: Formulation complying with ASTM D3498 that is approved for use indicated by adhesive manufacturer.

First subparagraph below applies to LEED 2009 NC, CI, and CS; LEED v4; IgCC; and Green Globes. VOC content limit is that for multipurpose construction adhesives.

Adhesives shall have a VOC content of [70] <Insert value> g/L or less.

First subparagraph below applies to LEED 2009 for Schools, Credit IEQ 4.1.

Adhesive shall comply with testing and product requirements of the California Department of Public Health's "Standard Method for the Testing and Evaluation of Volatile Organic Chemical Emissions from Indoor Sources Using Environmental Chambers."

First subparagraph below applies to LEED v4.

Adhesive shall comply with testing and product requirements of the California Department of Public Health's "Standard Method for the Testing and Evaluation of Volatile Organic Chemical Emissions from Indoor Sources Using Environmental Chambers."

First subparagraph below applies to IgCC.

Adhesive shall comply with testing and product requirements of the California Department of Public Health's "Standard Method for the Testing and Evaluation of Volatile Organic Chemical Emissions from Indoor Sources Using Environmental Chambers." Formaldehyde emissions shall not exceed 9 mcg/cu. m or 7 ppb, whichever is less.

Subparagraph below applies to Green Globes.

Adhesive shall comply with testing and product requirements of the California Department of Public Health's "Standard Method for the Testing and Evaluation of Volatile Organic Chemical Emissions from Indoor Sources Using Environmental Chambers." The building concentration of formaldehyde shall not exceed half of the indoor recommended exposure limit, or 33 mcg/cu. m, and that of acetaldehyde shall not exceed 9 mcg/cu. m.

Retain "Flexible Flashing" Paragraph below if required as a separator between preservative-treated wood and metal decking.

Flexible Flashing: Composite, self-adhesive, flashing product consisting of a pliable, [butyl rubber] [or] [rubberized-asphalt] compound, bonded to a high-density polyethylene film, aluminum foil, or spunbonded polyolefin to produce an overall thickness of not less than 0.025 inch (0.6 mm).

EXECUTION

INSTALLATION, GENERAL

Framing Standard: Comply with AF&PA's WCD 1, "Details for Conventional Wood Frame Construction," unless otherwise indicated.

Set carpentry to required levels and lines, with members plumb, true to line, cut, and fitted. Fit carpentry accurately to other construction. Locate[ furring,] nailers, blocking, [grounds, ]and similar supports to comply with requirements for attaching other construction.

Install plywood backing panels by fastening to studs; coordinate locations with utilities requiring backing panels.[ Install fire-retardant-treated plywood backing panels with classification marking of testing agency exposed to view.]

Install metal framing anchors to comply with manufacturer's written instructions. Install fasteners through each fastener hole.

Do not splice structural members between supports unless otherwise indicated.

Provide blocking and framing as indicated and as required to support facing materials, fixtures, specialty items, and trim.

Provide metal clips for fastening gypsum board or lath at corners and intersections where framing or blocking does not provide a surface for fastening edges of panels. Space clips not more than 16 inches (406 mm) o.c.

Provide fire blocking in furred spaces, stud spaces, and other concealed cavities as indicated and as follows:

Fire block furred spaces of walls, at each floor level, at ceiling, and at not more than 96 inches (2438 mm) o.c. with solid wood blocking or noncombustible materials accurately fitted to close furred spaces.

Fire block concealed spaces of wood-framed walls and partitions at each floor level, at ceiling line of top story, and at not more than 96 inches (2438 mm) o.c. Where fire blocking is not inherent in framing system used, provide closely fitted solid wood blocks of same width as framing members and 2-inch nominal (38-mm actual) thickness.

Fire block concealed spaces between floor sleepers with same material as sleepers to limit concealed spaces to not more than 100 sq. ft. (9.3 sq. m) and to solidly fill space below partitions.

Usually, indicate and describe fire blocking for cornices and trim on Drawings.

Fire block concealed spaces behind combustible cornices and exterior trim at not more than 20 ft. (6 m) o.c.

Sort and select lumber so that natural characteristics do not interfere with installation or with fastening other materials to lumber. Do not use materials with defects that interfere with function of member or pieces that are too small to use with minimum number of joints or optimum joint arrangement.

Comply with AWPA M4 for applying field treatment to cut surfaces of preservative-treated lumber.

Use inorganic boron for items that are continuously protected from liquid water.

Use copper naphthenate for items not continuously protected from liquid water.

Where wood-preservative-treated lumber is installed adjacent to metal decking, install continuous flexible flashing separator between wood and metal decking.

Securely attach carpentry work to substrate by anchoring and fastening as indicated, complying with the following:

Retain one of first two subparagraphs below, as required to comply with requirements of Project and local codes.

Table 2304.9.1, "Fastening Schedule," in ICC's International Building Code.

Table R602.3(1), "Fastener Schedule for Structural Members," and Table R602.3(2), "Alternate Attachments," in ICC's International Residential Code for One- and Two-Family Dwellings.

ICC-ES evaluation report for fastener.

Revise paragraph below to include other kinds of nails if required.

Use steel common nails unless otherwise indicated. Select fasteners of size that will not fully penetrate members where opposite side will be exposed to view or will receive finish materials. Make tight connections between members. Install fasteners without splitting wood. Drive nails snug but do not countersink nail heads unless otherwise indicated.

INSTALLATION OF WOOD BLOCKING AND NAILER

Install where indicated and where required for[ screeding or] attaching other work. Form to shapes indicated and cut as required for true line and level of attached work. Coordinate locations with other work involved.

Attach items to substrates to support applied loading. Recess bolts and nuts flush with surfaces unless otherwise indicated.

Retain first paragraph below for conventional, not veneer, plaster.

Provide permanent grounds of dressed, pressure-preservative-treated, key-beveled lumber not less than 1-1/2 inches (38 mm) wide and of thickness required to bring face of ground to exact thickness of finish material. Remove temporary grounds when no longer required.

Retain paragraph below for extruded-aluminum nailers used for attachment to metal deck or masonry wall construction, and to suit Project.

For Metal-Eras's "Eliminailer-T" aluminum nailer, see www.metalera.com/Wood-Nailer-Alternative.

Install extruded-aluminum nailers in accordance with manufacturer's written instructions at locations indicated on Drawings.

Provide watertight termination at leading edge of roofing.

Allow for thermal movement.

Install isolation barrier under roof flange at locations of dissimilar materials including concrete, masonry, or treated wood.

Insert other specific requirements as needed for work.

INSTALLATION OF WOOD FURRING

Install level and plumb with closure strips at edges and openings. Shim with wood as required for tolerance of finish work.

Revise "Furring to Receive Plywood or Hardboard Paneling" Paragraph below if closer spacing is required for material fastened.

Furring to Receive Plywood or Hardboard Paneling: Install 1-by-3-inch nominal- (19-by-63-mm actual-) size furring [horizontally] [and] [vertically] at [24 inches (610 mm)] [600 mm] o.c.

Revise "Furring to Receive (Gypsum Board) (Plaster Lath)" Paragraph below if closer spacing is required for material fastened.

Furring to Receive [Gypsum Board] [Plaster Lath]: Install 1-by-2-inch nominal- (19-by-38-mm actual-) size furring vertically at [16 inches (406 mm)] [400 mm] o.c.

PROTECTION

Delete this article if site-applied boron treatment is specified in Section 313116 "Termite Control."

Protect wood that has been treated with inorganic boron (SBX) from weather. If, despite protection, inorganic boron-treated wood becomes wet, apply EPA-registered borate treatment. Apply borate solution by spraying to comply with EPA-registered label.

Retain paragraph below if borate treatment of wood that has become wet is used to help prevent mold and mildew.

Protect miscellaneous rough carpentry from weather. If, despite protection, miscellaneous rough carpentry becomes wet, apply EPA-registered borate treatment. Apply borate solution by spraying to comply with EPA-registered label.

END OF SECTION 061053